METRO CASH & CARRY COMPLEX

DEVELOPMENT PHASE-1

PACKAGE: HANDING OVER DOCUMENTS OF FIRE FIGHTING PUMPS

TABLE OF CONTENTS:

SECTION 01:	INTRODUCTION

  - Project & System Out Line

  - Details of Project Main Players

  - Escalation chart

  - Statuary Approvals

SECTION 02:   SCHEDULES OF EQUIPMENT

  - Testing / Warranty certificates

SECTION 03:   SYSTEM DESCRIPTION

  - Scope description

SECTION 04:  AS BUILT DRAWINGS

4.1     As built drawings

SECTION 05:  OPERATION & MAINTENANCE PROCEDURE

5.1    Operating & Maintenance Procedure

SECTION 07:  TESTING & COMMISSIOINING RECORDS

7.1    Testing & commissioning reports
7.2    Client Training Report
7.3    Test Certificates
7.4    Completion Certificate

PUMPS

PROJECT NAME: METRO CASH AND CARRY INDIA,

LOCATION: YESHWANTPUR, BANGALORE.

PREPARED BY			           REVIEWED BY		                         APPROVED BY

L&W PVT LTD, INVRECO			   BTPL					        BTPL

SECTION 01

INTRODUCTION

1.1 PROJECT & SYSTEM OUT LINE

This Manual has the Operation & Maintenance procedure of Fire pump. It has testing & commissioning records and Operation & Maintenance Manuals of equipment, As Build Drawings of the equipment which is installed in the Project.

| No. | Description |  |
| --- | --- | --- |
| 1 | Type of Building | RETAIL BUILDING |
| 2 | Project Name | MCCIN PHASE 1 |
| 3 | Project Description | Installation of Elevator & Travellator |
| 4 | Block, Story & Units | B2, B1, GF, MEZZ + 3 FLOORS |
| 5 | Location / Road | YESHWANTPUR, BANGALORE |
| 6 | Site Address | Yeshwanthpur Survey No. 26/3, Industrial Suburbs, “A” Block, Subramanyanagar Ward No. 9, Bengaluru, Karnataka 560055 |

1.2 DETAILS OF PROJECT MAIN PLAYERS

| #### CLIENT |  | KEPPAL LAND, BANGALORE TOWER PVT LTD. THE CUBE@ KARLE TOWN CENTRE, 5th FLOOR, NADA PRABHU KEMPE GOWDA MAIN ROAD, ADJACENT TO NAGAVARA LAKE, BENGALURU-560045. |
| --- | --- | --- |
| CONSTRUCTION MANAGEMENT CONSULTANT |  | #### JLL PROJECT DEVELOPMENT SERVICES, LEVEL 3 CONCORDE UB CITY, #24 VITTAL MALLYA ROAD, BANGALORE-01 |
| DESIGN & BUILD MAIN CONTRACTOR |  | #### L&W CONSTRUCTION PVT. LTD, PRIDE HULKUL BUILDING, 8TH FLOOR, NO. 801, LALBAGH ROAD, BANGALORE – 560 027. TEL. : +91 80 – 67996888 |
| DESIGN & BUILD MEP CONTRACTOR |  | #### INVRECO PVT LTD ERIKKARAI ROAD, MALAYAMBAKKAM, KUNDRATHUR, CHENNAI-600069. |
| WILO & ENTEX PRIVATE LTD, VENDOR |  | #### ENTEX PRIVATE LIMITED T-54(Old No: T-100),II Floor,III Avenue,Annanagar,Chennai-600040. |

1.3 ESCALLATION CHART

| Escalation Matrix |  |  |
| --- | --- | --- |
| Customer Name: | INVRECO PVT LTD |  |
| Project/ Site Name: | MCCIN- YESWANTHPUR |  |
| FIRE PUMP SERVICE ESCALATION |  |  |
| Escalation Levels | Name & Designation | Contact details - E- Mail id, Phone Number. |
| Level-1 | Services Engineer (Entex) Mr.VENKATRAMAN.G | Entex Private Limited entexchennai@gmai.com MO:9444394295 |
| Level- 2 | Manager-1(Entex) Mr.SUNDAR RAJAN.C | Sundar RajanChandrasekaran entexsundar@gmail.com MO:9445417540 |
| Level-3 | Manager -2(wilo) Mr.SRINIVASAN.K | K Srinivasan <srinivasan.k@wilo.com> MO:8680068304 |

1.4 STATUARY APPROVALS

SECTION 02

2.1 TESTING/ WARRANTY CERTIFICATES

SECTION 03

SYSTEM DESCRIPTION

  - Scope description

SCOPE OF WORKS

The scope of work includes Supply, Testing, Commissioning & Handing over of Fire Fighting Pumps.

  - Equipment Specification Sheet

SECTION 04:

AS BUILT DRAWINGS

OPERATION & MAINTENANCE MANUAL

SECTION 05:

OPERATION & MAINTENANCE PROCEDURE

5.1 Operating & Maintenance Procedure

SECTION 06:

TESTING & COMMISSIOINING RECORDS

7.1 Testing & Commissioning Reports

7.2 Client Training Report

7.3 Test Certificates

7.4 Project Completion Certificate